## Glossary
Course session | Terms | Definition
Specimen | Clininical specimen | A sample of tissue, blood, urine, etc, taken for diagnostic examination or evaluation
| Aliquoting | A portion of a larger sample, often an equally divided portion of a sample
| GLP | Good laboratory practice
| QC | Quality control
| QA | Quality assurance
| Specimen collection | Specimen collection defined as the collection of the specimen for the purposes of diagnosis, treatment and recovery
| Specimen management | A workflow made up of the selection, collection, storage and retrieval of samples and their relevant data
| Biospecimen | A sample of material, such as urine, blood, tissue, cells, DNA, RNA, or protein, from humans, animals, or plants.
| Confidentiality | Preserving authorized restrictions on access and disclosure, including means for protecting personal privacy and proprietary information
| Phlebetomy | A procedure in which a needle is used to take blood from a vein, usually for laboratory testing
| Centrifugation | A method of separating molecules having different densities by spinning them in solution around an axis (in a centrifuge rotor) at high speed
| PPE | Personal protective equipment
| LIMs | Laboratory information management system
| Spectrophotmeter | A method to measure how much a chemical substance absorbs light by measuring the intensity of light as a beam of light passes through sample solution.
Molecular Microbiology | Molecular biology | Branch of biology that study the structure, function and composition of the molecular components of life.
| Molecular microbiology | Branch of microbiology devoted to the study of the molecular basis of the physiological processes that occur in microorganisms
| MRSA | Methicillin resistant Staphylococcus aureus
| VRE | Vancomycin resistant Enterococcus spp.
| PFGE | Pulse-Field Gel Electrophoresis= molecular technique generating a DNA fingerprint for a bacterial isolate and allowing for comparison with other isolates
| PCR | Polymerase Chain Reaction= a molecular technique used to make numerous copies of a specific segment of DNA quickly and accurately.
| M-PCR | Multiplex PCR = simultaneous amplification of more than one target sequence in a single reaction tube using more than one primer pair
| RT-PCR | Real Time PCR
| rtRT-PCR | Reverse Transcriptase Real time PCR
| LAMP | Loop-mediated isothermal amplification
| NASBA | Nucleic acid sequence-based amplification (NASBA)
| Molecular laboratory testing | Broad term that refers to the detection and/or quantification of specific DNA or RNA sequences in a specimen.
| PPE | Personal protective equipment
| ESBL | Extended spectrum beta-lactamases- common resistance mechanism in Gram negative bacteria.
Sequencing | Whole genomics sequencing | Used for sequencing of the whole genome of organisms
| Target sequencing | used for sequencing target genes afte applification with M-PCR
| Metagenomic | Sequening directing from clinical samples, environmental smples, microbiota ...
| Shotgun sequencing | DNA is broken up randomly into numerous small segments, which are sequenced using the chain termination method to obtain reads. Multiple overlapping reads for the target DNA are obtained by performing several rounds of this fragmentation and sequencing
| Next generation sequencing | High throughput, massively parallel sequencing
| Contig | A contig is a series of overlapping DNA sequences used to make a map that reconstructs the original DNA sequence of a chromosome or a region
| Genome (de novo) assembly | Genome assembly refers to the process of putting nucleotide sequence into the correct order (without the use of a reference genome)
| Genome alignment | The process of using a reference genome to assist with piecing a genome back together following sequencing of DNA fragments
| Multiplexing | The addition of barcodes/indexes/primers to samples so that multiple samples can be run on a single sequencing run
| Paired end sequencing | A process of sequencing from both ends of a DNA fragment in the same run

## Resources_handout list
Description/Title | Link
Youtube video | https://docs.google.com/document/d/1L8qDgNGNy_aqe2hx7Qs93S8CFi6QbFQ5LhCfkS33JtM/edit?usp=share_link
Molecular techniques | https://drive.google.com/file/d/1tRbyfXALwHxQWZL5GVro73JwWdh_pI07/view?usp=share_link
Introduction to molecular diagnostics | https://drive.google.com/file/d/1k95I9zBr3PISkyiPMqDkvKX2DZTqirQr/view?usp=share_link
Guide to pipetting | https://drive.google.com/file/d/1LaC_naAEMqiQq3O9_lvdC5zfjMbPllAn/view?usp=share_link https://drive.google.com/file/d/1raeWAsKGG1eSYozuC5aeM5g5i0ZN3CBM/view?usp=share_link
Establishing molecular microbiology capacity - articles | https://drive.google.com/file/d/12B8bt7swW_VTJJnNUCzABuY-3nEn72WV/view?usp=share_link https://drive.google.com/file/d/1LIyqucpMR0ORw6W9qpCiAcV5EQqFLtgo/view?usp=share_link
Good laboratory practices | https://drive.google.com/file/d/1Tm-7zwm6UfKvFWEmD0Pojaxeq2yf0hyZ/view?usp=share_link https://drive.google.com/file/d/1dqGDUeawxYHHAhC3dlFsRgH8cFFTDjRE/view?usp=share_link
Practical Guidance for Clinical Microbiology Laboratories | https://journals.asm.org/doi/10.1128/CMR.00062-17
Description/Title | Link
Chatham House sustainable laboratories initiative | https://www.chathamhouse.org/2019/06/chatham-house-sustainable-laboratories-initiative-prior-assessment-tool
Next Gen sequencing implementation guide | https://www.aphl.org/aboutAPHL/publications/Documents/ID-NGS-Implementation-Guide102016.pdf
PANDORA-ID-NET TGHN sequencing set up pages | https://pandora.tghn.org/sequencing/
ONT set up pages | https://support.illumina.com/content/dam/illumina-support/documents/documentation/system_documentation/nextseq/nextseq-500-550-system-site-prep-guide-15045113-05.pdf
Illumina set up (e.g. NextSeq) pages | https://support.illumina.com/content/dam/illumina-support/documents/documentation/system_documentation/nextseq/nextseq-500-550-system-site-prep-guide-15045113-05.pdf

## Checklisttoolkit - Specimens
Item | Key considerations (brief but as detailed as possible) | Trainee notes (here participants will reflect on own contexts)
Specimen | -Specimen type
-No. of specimens
-Spillage containment incase of emergencies
Consent | Informed consent,IRB,MTA
Sample data collection | Sample inventory ,Manifest (Electronic and hard copy) , shipping documentation
Infrastructure | -Adequate physical space for equipment, workstations, and personnel
-Power supply, back-up generators , inverters
-Internet connectivity
-Ventilation, temperature requirement, and safety measures for the laboratory
-Controlled access doors and Emergency exists
-Electric supply
-Clean water supply
-Dedicated storage area, PPE and dressing area
-Doors diamension
Storage space | Cooling systems, Remote temperature monitoring system, wall thermometer
Laboratory Equipment | Biosafety cabinet ,vortex, nanodrop, water bath, heating block,centrifuge, automated DNA extraction machine, computer,pipette and pipette stands,decapper
Storage equipment | -Ultra low freezers (-20c, -80c)
-Refrigerator
-Liquid nitrogen tank
- Ultra low thermometers and temperature loggers
-Storage space to accommodate the anticipated samples
Equipment procurement | -Cost-effectivement - Applications to be performed - Electric supply- Generators,inverters - Simplicity vs automated - Vendor/Supplier including accounts
Equipment - Maintenance & Calibration | - Accessibility of manufacturer/distributor locally
- Cost and accessibility of replacement part
- Frequency and cost of calibration
-Cost of equipment repair
Training | Biosafety, Waste management, Good laboratory practice (GLP), Sample collection,processing and accessioning, Sample storage and shipment
Reagents and consumables | -Cost
-Local/ internatioonal procurment
-Quality and expiration date
- Inventory, shortages and suppy
-Storage required (room temperature/refrigerated/frozen)
-QC check for new reagent batch
- Calibration kit
Storage | - Power back up
-Storage requitement
-Cost effectiveness
Personnel | -Personal training and competency
-Continious training and mentoring
-Annual performance evaluation review
Quality control and Assurance | - Types of QC and frequency
- Evaluation of Controls and Calibrator
-Monitoring of all steps (including environmental surface contamination)
Data management software | -Laboratory information management system (Freezerworks,LDMS)
-Software for Nanodrop QC machine

## Checklisttoolkit - Molecular me
Item | Key considerations (brief but as detailed as possible) | Trainee notes (here participants will reflect on own contexts)
Infrastructure | - 3 separated work areas - Unidirectional workflow - Dedicated equipment and consumables in each area - Dedicated PPE and dressing area - Temperature and humidity requirement - Maintenance of air pressure - Safety and security - Exhaust ventilation - Water quality - Electric outlet - Back-up power system
Equipment - Procurement | - Cost-effectivement - Applications and assays to be performed - Electric supply stability - Simplicity & robustness vs sophisticated automation - Basic needs: Base safety cabinet, PCR machine, micropipette, analytical balance, microcentrifuge, vortex, electrophoretic cuve, power pac, casting gel, gel documentation system, refrigerator, freezer,
Equipment - Maintenance & Calibration | - Accessibility of manufacturer/distributor locally - Cost and accessibility of replacement part - Frequency and cost of calibration
Equipment - Training | Biosafety, good laboratory practice, liquid handling, waste management, decontamination approaches
Reagents and consumables | - Cost - Stability, local accessibility, Quality - Expiration date - Forecast shortages and delivery time - Storage requirement - Prioritize your critical reagents (enzymes, probes, digestion, and electrophoresis buffers) - Perform QC checks as appropriate.
Storage | - Storage requirement - Power supply back-up - Cost-effectivenes - Storage Management System
Personnel | - Personnel Training and Competency - Continuing training
Quality control and quality assurance programme | - Monitoring of all steps (plus schedule wipe test to check for environmental contamination) - Types of Control - Frequency and Number of Controls - Evaluation of Controls and Calibrator
Data management software | - Basic software for data management (Benchling, Trello, etc.) - Software for primer design (primer-3, benchling, etc.)

## Checklisttoolkit - Genome seque
Item | Key considerations (brief but as detailed as possible) | Trainee notes (here participants will reflect on own contexts)
Infrastructure | Adequate physical space for equipment, workstations, and personnel
Reliable and uninterrupted power supply
High-speed and reliable internet connectivity
Proper ventilation, temperature control, and safety measures for the laboratory
Laboratory Equipment: | DNA or RNA sequencers (e.g., Illumina, Ion Torrent, PacBio)
High-performance computing clusters or servers for data analysis and storage
Laboratory consumables, such as pipettes, centrifuges, thermocyclers, and gel electrophoresis equipment
Bioanalyzer or qPCR machine for quality control of DNA or RNA samples
Laboratory furniture, such as benches, chairs, and storage cabinets
Backup power sources (e.g., generators, uninterruptible power supply) for emergency situations
Setup unidirectional workflow in the laboratory
Laboratory Reagents: | DNA or RNA extraction kits for sample preparation
Library preparation kits for NGS library construction
Sequencing kits for the specific NGS platform being used
Primers, probes, and other PCR reagents for amplification
Buffer solutions, enzymes, and other reagents for DNA or RNA manipulation
Chemicals and consumables for general laboratory operations, such as molecular-grade water, pipette tips, and tubes
Bioinformatics and Data Analysis | High-performance computing clusters or servers for data analysis and storage
Bioinformatics software and tools for data processing, alignment, variant calling, and data visualization
Storage solutions for large-scale data management, such as network-attached storage (NAS) or cloud-based storage
Infrastructure:
Laboratory Personnel and Training | Skilled personnel with expertise in NGS technology, including lab technicians, bioinformaticians, and other relevant roles
Training programs and resources for laboratory personnel to learn and maintain proficiency in NGS techniques and data analysis
Standard operating procedures (SOPs) and documentation for laboratory workflows and protocols
Competency assessment forms, training record storage and continuous (re)training protocol